## BP analysis
ID | Year | Title | Authors | Source | Signals | Tasks | Methods | Training Strategy | Results | Data
1 | 2022 | Subject-Based Model for Reconstructing Arterial Blood Pressure from Photoplethysmogram | Qunfeng Tang | Bioengineering (IF: 4.6, Citation: 5) | PPG | the reconstruction of the ABP waveform | W-Net (U-Net) | SL | the similarity measures between the reconstructed ABP signals and their reference ABP signals: the Pearson correlation, RMSE, and normalized dynamic time warping distance were 0.995, 2.236 mmHg, and 0.612 mmHg on average, respectively. The MAEs of the SBP and DBP were 2.602 mmHg and 1.450 mmHg on average, respectively. | UCI_BP
2 | 2023 | Hybrid CNN-SVR Blood Pressure Estimation Model Using ECG and PPG Signals | Solmaz Rastegar | Sensors (IF: 3.9, Citation: 1) | PPG + ECG | estimates the SBP and DBP | CNN-SVR | SL | an overall MAE of 1.23 ± 2.45 mmHg (MAE ± STD) for SBP and 3.08 ± 5.67 for DBP, all of which comply with the accuracy requirements of the AAMI SP10 standard | A total of 120 patients with available ECG, PPG, SBP, and DBP data are selected from the MIMIC III database
3 | 2020 | Genetic Deep Convolutional Autoencoder Applied for Generative Continuous Arterial Blood Pressure via Photoplethysmography | Muammar Sadrawi | Sensors (IF: 3.9, Citation: 27) | PPG | the reconstruction of the ABP waveform | Encoder-decoder, U-Net/CNN | SL | this study exhibits that SBP and DBP can also be accurately achieved by only utilizing a single PPG signal. | A total of 18 patients are utilized
4 | 2020 | Real-Time Cuffless Continuous Blood Pressure Estimation Using Deep Learning Model | Yung-Hui Li | Sensors (IF: 3.9, Citation: 88) | PPG + ECG | estimates the SBP, DBP | Bi-LSTM with residual connection | SL | The results show that the proposed model outperforms the existing methods and is able to achieve accurate estimation which is promising in order to be applied in clinical practice effectively. | MIMIC II
5 | 2022 | Real-Time Cuffless Continuous Blood Pressure Estimation Using 1D Squeeze U-Net Model: A Progress toward mHealth | Tasbiraha Athaya | Biosensors (IF: 5.4, Citation: 3) | PPG | the reconstruction of the ABP waveform | 1D Squeeze U-net/CNN | SL | This proposed deep-learning model performs best in terms of systolic BP, diastolic BP, and mean arterial pressure, with a mean absolute error of 4.42, 2.25, and 2.56 mmHg and standard deviation of 4.78, 2.98, and 3.21 mmHg | MIMIC-I and MIMIC-III
6 | 2021 | Prediction of arterial blood pressure waveforms from photoplethysmogram signals via fully convolutional neural networks | Juan Cheng | Computers in Biology and Medicine (IF: 7.7, Citation: 31) | PPG | the reconstruction of the ABP waveform | U-Net/CNN | SL | The MAE and the RMSE between the predicted waveforms via the ABP-Net and the reference ones are 3.20 mmHg and 4.38 mmHg during the subject-dependent experiments while those are 5.57 mmHg and 7.15 mmHg during the subject-independent experiments | MIMIC II database
7 | 2022 | PPG2ABP: Translating Photoplethysmogram (PPG) Signals to Arterial Blood Pressure (ABP) Waveforms | Nabil Ibtehaz | Bioengineering (IF: 4.6, Citation: 12) | PPG | the reconstruction of the ABP waveform | Unet (1D MultiResUNet)/CNN | SL | estimate the continuous ABP waveform from the input PPG signal with a mean absolute error of 4.604 mmHg, preserving the shape, magnitude, and phase in unison. the computed values of DBP, MAP, and SBP from the estimated ABP waveform outperform the existing works under several metrics (MAE of 3.449 ± 6.147 mmHg, 2.310 ± 4.437 mmHg, and 5.727 ± 9.162 mmHg, respectively) | UCI_BP
8 | 2020 | PP-Net: A Deep Learning Framework for PPG-Based Blood Pressure and Heart Rate Estimation | Madhuri Panwar | IEEE Sensors Journal (IF: 4.3, Citation: 104) | PPG | estimates the SBP and DBP | CRNN (CNN-LSTM) | SL | an average NMAE of 0.09 (DBP) and 0.04 (SBP) mmHg for BP, on total population of 1557 critically ill subjects | MIMIC-II database
9 | 2020 | Photoplethysmography-Based Blood Pressure Estimation Using Deep Learning | Weinan Wang | 2020 54th Asilomar Conference on Signals, Systems, and Computers (Citation: 7) | PPG | estimates the SBP and DBP | visibility graph + CNN | SL | systolic BP (SBP) and for the diastolic BP (DBP) are −0.080 ± 10.097 mmHg and 0.057 ± 4.814 mmHg, respectively | UCI_BP
10 | 2023 | Photoplethysmography Driven Hypertension Identification: A Pilot Study | Liangwen Yan | Sensors (IF: 3.9, Citation: 0) | PPG | Hypertension identification | CRNN (CNN-LSTM) | SL | accuracy: 0.991; precision: 0.989; recall: 0.993; F1-score: 0.991 | A protocol with 15 healthy volunteers and 15 hypertension patients was implemented to obtain these datasets
11 | 2020 | Photoplethysmography based stratification of blood pressure using multi information fusion artificial neural network | Dingliang | Proceedings of the IEEE/CVF Conference on Computer Vision and … (Ciation: 11) | PPG | 5-category BP stratification | CNN, LSTM | SL | achieving averagely accuracy of 91.33% for 5-category BP stratification | UCI_BP
12 | 2021 | Personalized Blood Pressure Estimation Using Photoplethysmography: A Transfer Learning Approach | Jared Leitner | IEEE Journal of Biomedical and Health Informatics (IF: 7.7, Citation: 35) | PPG | estimates the SBP and DBP | CRNN | Transfer learning | achieves a mean absolute error (MAE) of 3.52 and 2.20 mmHg for SBP and DBP estimation, respectively, outperforming existing methods. | MIMIC III
13 | 2023 | Optimized deep neural network models for blood pressure classification using Fourier analysis-based time–frequency spectrogram of photoplethysmography signal | Pankaj | Biomedical Engineering Letters (IF: 4.6, Citation: 0) | PPG | classify the PPG signal into normotension, pre-hypertension, and hypertension | GoogleNet, DenseNet, and AlexNet (CNN) | Transfer learning | the proposed framework with the DenseNet-201 network performs best, with a test accuracy of 96.5% | the MIMIC-III and PPG–BP databases
14 | 2022 | Novel Blood Pressure Waveform Reconstruction from Photoplethysmography using Cycle Generative Adversarial Networks | Milad Asgari Mehrabadi | EMBC (Citation: 12) | PPG | the reconstruction of the ABP waveform | Cycle Generative Adversarial Networks | SL | and outperforms SOTA approaches by up to 2x in BP estimation. On cross-subject evaluation, our proposed model achieves prediction error (M AE ± ) of 2.89 ± 4.52 mmHg and 3.22 ± 4.67 mmHg for SBP and DBP, respectively. Furthermore, per-subject evaluation outperforms the results of the SOTA methods (2.29 ± 0.88 mmHg for SBP and 1.93 ± 2.61 mmHg for DBP). | MIMIC II
15 | 2022 | Non-invasive blood pressure estimation combining deep neural networks with pre-training and partial fine-tuning | Ziyan Meng | Physiological Measurement (IF: 3.2, Citation: 1) | PPG | estimates the SBP and DBP | CRNN | Transfer learning | The mean absolute error and the Pearson correlation coefficient (r) of the proposed algorithm are 3.21 mmHg and 0.919 for systolic BP, and 1.80 mmHg and 0.898 for diastolic BP (DBP) | MIMIC III
16 | 2023 | Non-invasive arterial blood pressure measurement and SpO2 estimation using PPG signal: a deep learning framework | Yan Chu | BMC Medical Informatics and Decision Making (IF: 3.5, Citation: 0) | PPG | estimates the SBP and DBP | Transformer | Transfer learning | The mean absolute error is 2.52 ± 2.43 mmHg for systolic blood pressure, 1.37± 1.89 mmHg for diastolic blood pressure | MIMIC III
17 | 2022 | KD-Informer: A Cuff-Less Continuous Blood Pressure Waveform Estimation Approach Based on Single Photoplethysmography | Chenbin Ma | IEEE Journal of Biomedical and Health Informatics (IF: 7.7, Citation: 9) | PPG | estimate the SBP and DBP | Transformer | Knowledge distillation | The experimental test results on the MIMIC dataset showed that the KD-Informer exhibited an estimation error of 0.02 ± 5.93 mmHg for systolic BP (SBP) and 0.01 ± 3.87 mmHg for diastolic BP (DBP) | Mindray dataset and MIMIC
18 | 2021 | Imputation of the continuous arterial line blood pressure waveform from non‑invasive measurements using deep learning | Brian L. Hill | Scientific Reports (IF: 4.6, Citation：32） | PPG + ECG | the reconstruction of the ABP waveform | CNN (SQI), U-Net (modified 1D V-Net)/CNN | SL | a highly accurate prediction of the continuous ABP waveform (root mean square error 5.823 (95% CI 5.806–5.840) mmHg), as well as the derived systolic (mean difference 2.398 ± 5.623 mmHg) and diastolic blood pressure (mean difference −2.497 ± 3.785 mmHg) compared to arterial line measurements | 150,000 min of data collected at two separate health systems from 463 patients (MIMIC + UCLA)
19 | 2021 | Improving the Accuracy in Classification of Blood Pressure from Photoplethysmography Using Continuous Wavelet Transform and Deep Learning | Jiaze Wu | International journal of hypertension (IF: 1.9, Citation: 18) | PPG | Classification of Blood Pressure | CNN | SL | accuracy 90% | MIMIC-III
20 | 2021 | Hypertension Risk Assessment from Photoplethysmographic Recordings Using Deep Learning Classifiers | Jeśus Cano | Computing in Cardiology 2021 (Citation: 2) | PPG | classify the PPG signal into normotension, pre-hypertension, and hypertension (CWT) | CNN (Googlenet, ResNet) | Transfer learning | being 92.10% for GoogleNet and 93.91% for ResNet, respectively. | MIMIC-III
21 | 2023 | Fully convolutional neural network and PPG signal for arterial blood pressure waveform estimation | Yongan Zhou | Physiological Measurement (IF: 3.2, Citation: 0) | PPG | the reconstruction of the ABP waveform | U-Net/CNN | SL | and the MAE of the predicted waveform from the reference waveform was 1.88 mmHg in the subject experiment, indicating a small error in the performance of the model better | MIMIC II
22 | 2022 | Continuous Blood Pressure Estimation Based on Multi-Scale Feature Extraction by the Neural Network With Multi-Task Learning | Hengbing Jiang | Frontiers in Neuroscience (IF: 4.3, Citation: 3) | PPG + ECG | estimates the SBP, DBP, and MAP | CNN | SL | the mean absolute error ± standard deviation for SBP, DBP, and MAP with the proposed method against reference are 4.04 ± 5.81, 2.29 ± 3.55, and 2.46 ± 3.58 mmHg, respectively; the correlation coefficients of SBP, DBP, and MAP are 0.96, 0.92, and 0.94. | MIMIC II
23 | 2021 | Featureless Blood Pressure Estimation Based on Photoplethysmography Signal Using CNN and BiLSTM for IoT Devices | Yung-Hui Li | Wireless Communications and Mobile Computing (Citation: 6) | PPG | estimates the SBP and DBP | CRNN (CNN-BiLSTM) | SL | We achieve RMSE of 11.503 and 6.525 for SBP and DBP, respectively, and MAE of 7.849 and 4.418 for SBP and DBP, respectively. | MIMIC II
24 | 2022 | Fast Cuffless Blood Pressure Classification with ECG and PPG signals using CNN-LSTM Models in Emergency Medicine | Ivan Kuzmanov | 2022 45th Jubilee International Convention on Information … (Citation: 6) | PPG + ECG | ABP classification | CRNN (CNN-LSTM) | SL | The best result in the two-class model is AUROC = 0.74 | UCI_BP
25 | 2022 | Estimation of Beat-by-Beat Blood Pressure and Heart Rate From ECG and PPG Using a Fine-Tuned Deep CNN Model | CHIH-TA YEN | IEEE Access (IF: 3.9, Citation: 3) | PPG + ECG | Beat-to-beat SBP and DBP | CRNN (CNN-LSTM) | SL | The MAE (standard deviation (SD)) values of the developed model for predicting SBP and DBP were 2.24 mmHg (3.59 mmHg), and 1.40 mmHg (2.56 mmHg), respectively. | UCI_BP
26 | 2020 | Estimation and Tracking of Blood Pressure Using Routinely Acquired Photoplethysmographic Signals and Deep Neural Networks | Oded Schlesinger | Critical Care Explorations (Citation: 16) | PPG | estimates the SBP, DBP, and MAP | 1D Siamese CNN | SL | The average estimation bias error was 0.52, 0.1, and –0.76 mm Hg for diastolic, mean, and systolic blood pressure, respectively, with associated mean absolute errors of 4.11, 5.51, and 7.98 mm Hg | MIMIC II
27 | 2019 | Estimating blood pressure trends and the nocturnal dip from photoplethysmography | Mustafa Radha | Physiological Measurement (IF: 3.2, Citation: 61) | PPG | estimation of the nocturnal systolic blood pressure dip from 24-hour blood pressure trends | FC, LSTM | SL | a Root Mean Squared Error (RMSE) of 3.12±2.20 ∆mmHg and a correlation of 0.69 (p = 3 ∗ 10−5) with the ground truth Systolic Blood Pressure (SBP) dip.trend estimates of blood pressure which had an RMSE of 8.22±1.49 mmHg for systolic and 6.55±1.39 mmHg for diastolic blood pressure. | 106 healthy individuals for 226 days during which 5111 reference values for blood pressure
28 | 2023 | Non-Invasive Arterial Blood Pressure Estimation from Electrocardiogram and Photoplethysmography Signals Using a Conv1D-BiLSTM Neural Network | Federico Delrio | Engineering Proceedings (Citation: 0) | PPG + ECG | the reconstruction of the ABP waveform | Encoder-Decoder/CNN, LSTM | SL | achieves a mean absolute error of around 2.97 | UCI_BP
29 | 2022 | Classification of Blood Pressure Levels Based on Photoplethysmogram and Electrocardiogram Signals with a Concatenated Convolutional Neural Network | Yunendah Nur Fuadah | Diagnostics (IF: 3.6, Citation: 5) | PPG + ECG | Classification of Blood Pressure | CNN | SL | the highest test accuracy of 94.56–95.15% with a 95% confidence interval in classifying BP levels into hypotension, normotension, prehypertension, hypertension stage 1, and hypertension stage 2. | MIMIC III dataset
30 | 2022 | DeepCNAP: A Deep Learning Approach for Continuous Noninvasive Arterial Blood Pressure Monitoring Using Photoplethysmography | Dong-Kyu Kim | IEEE Journal of Biomedical and Health Informatics (IF: 7.7, Citation: 6) | PPG | the reconstruction of the ABP waveform | U-Net | SL | The mean absolute errors of the BP estimates were 3.40 ± 4.36 mmHg for systolic BP, 1.75 ± 2.25 mmHg for diastolic BP, and 3.23 ± 2.21 mmHg for the BP waveform | MIMIC database
31 | 2023 | Deep‑learning‑based blood pressure estimation using multi channel photoplethysmogram and finger pressure with attention mechanism | Jehyun Kyung | Scientific Reports (IF: 4.6, Citation：0） | multichannel PPG + force signals | continuously estimates the SBP and DBP | CNN-attention | SL | The errors (ME ± STD) of the proposed multi channel system were 0.43±9.35 mmHg and 0.21 ± 7.72 mmHg for SBP and DBP, respectively | Dataset1 was collected at the MONIKI Hospital and contained 1,450 cases from 290 participants; it was used to train the proposed BP estimation system. Dataset2 was collected at the Samsung Medical Center and contained 865 cases from 186 participants
32 | 2021 | Deep learning models for the prediction of intraoperative hypotension | Solam Lee1 | British Journal of Anaesthesia (IF: 9.8, Citation :30) | ABP, ECG, PPG, and capnography | real-time predictions 5, 10, and 15 min before a hypotensive event (binary classes) | CNN | SL | AUROC15-min, 0.897 [95% confidence interval {CI}: 0.894-0.900]... | 3301 patients of noncardiac surgery
33 | 2021 | Deep learning models for cuffless blood pressure monitoring from PPG signals using attention mechanism | C El-Hajj | Biomedical Signal Processing and Control (IF: 5.1, Citation: 64) | PPG | estimates the SBP and DBP | RNN-attention | SL | * | MIMIC II
34 | 2021 | Deep Learning Model with Individualized Finetuning for Dynamic and Beat-to-Beat Blood Pressure Estimation | Jingyuan Hong | 2021 IEEE 17th International Conference on Wearable and Implantable Body Sensor Networks (Citation: 4) | PPG + ECG + PPG (d) | estimates the SBP and DBP | CRNN (CNN-GRU) | Transfer learning | with the mean absolute errors decreased from 13.43 to 9.49 mmHg and 8.48 to 5.54 mmHg for systolic BP and diastolic BP, respectively. | 25 healthy subjects
35 | 2022 | Deep Learning Model for Blood Pressure Estimation from PPG Signal | Minseong Kim | 2022 IEEE International Conference on Metrology for Extended Reality, Artificial Intelligence and Neural Engineering (Citation: 0) | PPG | calibration-based blood pressure estimation (SBP-DBP) | CNN | SL | The resulting mean absolute error and standard deviation were 4.876mmHg and 5.257mmHg, respectively. | MIMIC-III, PPG-BP
36 | 2021 | Deep learning algorithm evaluation of hypertension classification in less photoplethysmography signals conditions | Chih-Ta Yen | Measurement and Control (IF: 2.0, Citation: 17) | PPG | classify hypertensive into no hypertension, prehypertension, stage I hypertension, and stage II hypertension. | CRNN (CNN-LSTM) | SL | The model demonstrated an optimal classification accuracy of 76% when the testing dataset was used. | 219 participants with ages in the range of 20–89 years from Guilin People’s Hospital in mainland China.
37 | 2019 | Cuffless Deep Learning-Based Blood Pressure Estimation for Smart Wristwatches | Kwangsub Song | IEEE Transactions on Instrumentation and Measurement (IF: 5.6, Citation: 34) | PPG + ECG | estimates the SBP and DBP | handcraft-FC | SL | * | 110 subjects contributed to the database (DB),
38 | 2021 | Cuffless blood pressure estimation from PPG signals and its derivatives using deep learning models | C El-Hajj | Biomedical Signal Processing and Control (IF: 5.1, Citation: 37) | PPG + PPG(d) | estimates the SBP and DBP | handcraft-RNN-attention | SL | a mean absolute error, and standard deviation of 4.51 ± 7.81 mmHg for systolic BP (SBP), and 2.6 ± 4.41 mmHg for diastolic BP (DBP). | MIMIC II
39 | 2019 | Cuffless Blood Pressure Estimation from only the Waveform of Photoplethysmography using CNN | Shota Shimazaki | 2019 41st Annual International Conference of the IEEE Engineering … (Citation: 43) | PPG | continuously estimates the SBP | CNN | SL | R = 0.71 and SD = 11.40 | 78 subjects, 45 men and 33 women
40 | 2022 | Cuff-Less Blood Pressure Prediction from ECG and PPG Signals Using Fourier Transformation and Amplitude Randomization Preprocessing for Context Aggregation Network Training | Treesukon Treebupachatsakul | Biosensors (IF: 5.4, Citation: 4) | PPG + ECG | the reconstruction of the ABP waveform (2s) | Encoder-Decoder/CNN | SL | with the systolic blood pressure root mean square error of 7 mmHg and the diastolic root mean square error of 6 mmHg | UCI_BP
41 | 2023 | Cuff-Less Blood Pressure Prediction Based on Photoplethysmography and Modified ResNet | Caijie Qin | Bioengineering (IF: 4.6, Citation: 1) | PPG | estimates the SBP and DBP | modified ResNet | SL | the accuracy of DBP reached Grade A of the BHS standard, and the accuracy of SBP almost reached Grade A of the BHS standard. | UCI_BP
42 | 2021 | Cuff-Less Blood Pressure Estimation via Small Convolutional Neural Networks | Weinan Wang | 2021 43rd Annual International Conference of the IEEE Engineering … (Ciatation: 5) | PPG | estimates the SBP and DBP | VG + modified LeNet-5 (CNN) | SL | an error performance of 0:184  7:457 mmHg for the systolic BP (SBP), and 0:343  4:065 mmHg for the diastolic BP (DBP) | UCI_BP
43 | 2021 | Cuff-Less Blood Pressure Estimation From Photoplethysmography via Visibility Graph and Transfer Learning | Weinan Wang | IEEE Journal of Biomedical and Health Informatics (IF: 7.7, Citation: 20) | PPG | estimates the SBP and DBP | VG + CNN | SL | the proposed method achieves a best error performance of 0.00 ± 8.46 mmHg for systolic blood pressure (SBP), and −0.04 ± 5.36 mmHg for diastolic blood pressure (DBP) | UCI_BP
44 | 2023 | Continuous cuffless blood pressure monitoring using photoplethysmography‑based PPG2BP‑net for high intrasubject blood pressure variations | Jingon Joung | Scientific Reports (IF: 4.6, Citation：0） | PPG | estimates the SBP and DBP | CNN | SL | 0.209 ± 7.509 and 0.150 ± 4.549 mmHg for highly varying A‑line systolic and diastolic BP values | Raw, vital waveforms of 25, 779 surgical cases were acquired intraoperatively from Seoul National University Hospital (SNUH)
45 | 2021 | Continuous Blood Pressure Estimation Using Exclusively Photopletysmography by LSTM-Based Signal-to-Signal Translation | Latifa Nabila Harfiya | Sensors (IF: 3.9, Citation: 46) | PPG + PPG(d) | the reconstruction of the ABP waveform | Encoder-Decoder/LSTM | SL | Our prediction results achieve average absolute error under 5 mmHg, with 70% confidence for SBP and 95% confidence for DBP without complex feature engineering. These results fulfill the standard from Association for the Advancement of Medical Instrumentation (AAMI) and the British Hypertension Society (BHS) with grade A. | MIMIC II
46 | 2023 | Classification of pulmonary arterial pressure using photoplethysmography and bi-directional LSTM | Qian Zhang | Biomedical Signal Processing and Control (IF: 5.1, Citation: 0) | PPG | Classification of pulmonary arterial pressure | BiLSTM | SL | a classification accuracy of 98.52% | 216 patients’ records
47 | 2020 | Calibration-free Blood Pressure Assessment Using An Integrated Deep Learning Method | Chuanqi Han | 2020 IEEE International Conference on Bioinformatics and Biomedicine (BIBM) (Citation: 9) | PPG | continuously estimates the SBP and DBP and classification | CNN | SL | * | PPG-BP figshare database
48 | 2021 | BP-Net: Efficient Deep Learning for Continuous Arterial Blood Pressure Estimation using Photoplethysmogram | Rishi Vardhan K | 2021 20th IEEE International Conference on Machine Learning and Applications (Citation: 6) | PPG | the reconstruction of the ABP waveform | U-Net/CNN | SL | achieves Mean Absolute Error (MAE) of 5.16 mmHg and 2.89 mmHg for SBP and DBP, respectively. | MIMIC II
49 | 2021 | Blood Pressure Morphology Assessment from Photoplethysmogram and Demographic Information Using Deep Learning with Attention Mechanism | Nicolas Aguirre | Sensors (IF: 3.9, Citation: 43) | PPG + demo info | the reconstruction of the ABP waveform | Encoder-Decoder/GRU | SL | the mean absolute errors (MAE) were 6.57 ± 0.20 and 14.39 ± 0.42 mmHg for DBP and SBP, respectively. | MIMIC-III
50 | 2022 | Blood Pressure Estimation from Photoplethysmography Signals by Applying Deep Learning Techniques | Roy Rodriguez-Marquez | International Conference on Computer Information Systems and Industrial Management (Citation: 0) | PPG | estimates the SBP and DBP | CNN | SL | achieves an R2 coefficient of 0.79 for SBP and 0.93 for DBP. | the dataset of vital signs from Queensland University
51 | 2019 | Blood Pressure Estimation from Photoplethysmogram Using a Spectro-Temporal Deep Neural Network | Gašper Slapniˇcar | Sensors (IF: 3.9, Citation: 225) | PPG | estimates the SBP and DBP | CRNN | SL | achieving mean absolute errors of 9.43 for systolic and 6.88 for diastolic BP. | MIMIC III
52 | 2022 | Blood Pressure and Heart Rate Measurements Using Photoplethysmography with Modified LRCN | Chih-Ta Yen | Computers, Materials & Continua (Citation: 3) | PPG | estimates the SBP and DBP | CRNN (CNN-LSTM) | SL | the proposed model was tested using a 10-fold cross-validation, with an MAE ± SD of 2.942 ± 5.076 mmHg for SBP, 1.747 ± 3.042 mmHg for DBP, | UCI_BP
53 | 2021 | Using CNN and HHT to predict blood pressure level based on photoplethysmography and its derivatives | Xiaoxiao Sun | Biosensors (IF: 5.4, Citation: 26) | PPG + PPG(d) | Classification of Blood Pressure (NT (normotension) vs. HT (hypertension), NT vs. PHT (prehypertension), and (NT + PHT) vs. HT;) | CNN + Hilbert–Huang Transform (HHT) | SL | the F1 scores of the PPG + experiments using AlexNet were 98.90%, 85.80%, and 93.54%, respectively. | MIMIC
54 | 2022 | BePCon: A Photoplethysmography-Based Quality-Aware Continuous Beat-to-Beat Blood Pressure Measurement Technique Using Deep Learning | Monalisa Singha Roy | IEEE Transactions on Instrumentation and Measurement (IF: 5.6, Citation: 0) | PPG | Beat-to-beat SBP and DBP | handcrafted-TCN | SL | standard deviation (SD) and mean absolute error (MAE) of 3.24 and 2.38 mmHg, respectively, for the SBP and 1.73 and 1.23 mmHg, respectively, for the DBP. | 150 data records from PhysioNet MIMIC-II/III waveform database
55 | 2020 | Beat-to-Beat Continuous Blood Pressure Estimation Using Bidirectional Long Short-Term Memory Network | Dongseok Lee | Sensors (IF: 3.9, Citation: 32) | ECG, PPG, and ballistocardiogram | estimates the SBP and DBP | BiLSTM | SL | The proposed model achieved a mean absolute error (MAE) of 2.56 and 2.05 mmHg for the systolic and diastolic BP (SBP and DBP), respectively, in the one-day test. Moreover, the results demonstrated that the LOSO method with fine-tuning was more compatible in the multi-day test. The MAE values of the model were 5.82 and 5.24 mmHg for the SBP and DBP, respectively. | A total of 18 subjects (male: 8, female: 10) with no medical records reported were recruited for the experiment.
56 | 2021 | Applying a Deep Learning Network in Continuous Physiological Parameter Estimation Based on Photoplethysmography Sensor Signals | Chih-Ta Yen | IEEE Sensors Journal (IF: 4.3, Citation: 5) | PPG | estimates the SBP, DBP, and MAP | CRNN (CNN-LSTM) | SL | reveal the mean absolute errors ± standard deviations of participants’ systolic BP, diastolic BP, HR, and mean arterial pressure to be 2.54 ± 3.88, 1.59 ± 2.45, 1.62 ± 2.55, and 1.59 ± 2.34 mmHg, respectively. | MIMIC
57 | 2021 | An Estimation Method of Continuous Non-Invasive Arterial Blood Pressure Waveform Using Photoplethysmography: A U-Net Architecture-Based Approach | Tasbiraha Athaya | Sensors (IF: 3.9, Citation: 61) | PPG | the reconstruction of the ABP waveform | U-Net | SL | an average Pearson’s correlation coefficient of 0.993. The mean absolute error is 3.68 ± 4.42 mmHg for SBP, 1.97 ± 2.92 mmHg for DBP, and 2.17 ± 3.06 mmHg for MAP which satisfy the requirements of the Association for the Advancement of Medical Instrumentation (AAMI) standard and obtain grade A according to the British Hypertension Society (BHS) standard | MIMIC and MIMIC-III.
58 | 2022 | A Refined Blood Pressure Estimation Model Based on Single Channel Photoplethysmography | Yiming Zhang | IEEE Journal of Biomedical and Health Informatics (IF: 7.7, Citation: 7) | PPG + demo info | estimates the SBP and DBP | BiLSTM + attention | Transfer learning | The mean absolute errors (MAEs) of systolic blood pressure (SBP) and diastolic blood pressure (DBP) estimation were 2.815 mmHg and 1.876 mmHg for normal subjects, 3.024 mmHg and 1.334 mmHg for AF subjects, and 4.444 mmHg and 2.549 mmHg for CA subjects. | MIMIC III
59 | 2023 | A novel CS-NET architecture based on the unification of CNN, SVM and super-resolution spectrogram to monitor and classify blood pressure using photoplethysmography | Pankaj | Computer Methods and Programs in Biomedicine (IF: 6.1, Citation: 0) | PPG | ABP classification | CNN-SVM | SL | The proposed model achieved an aggregate classification accuracy of 98.21% across a five-fold crossvalidation technique, | MIMIC-II, MIMIC-III, and PPG-BP-figshare database
60 | 2022 | A new deep learning framework based on blood pressure range constraint for continuous cuffless BP estimation | Yongyi Chen | Neural Networks (IF: 7.8, Citation: 16) | PPG | estimates the SBP and DBP | CNN | SL | We have achieved MAE of 1.63/1.59 (DBP) and 2.26/2.15 (SBP) mmHg for BP on total population of 1562 subjects | MIMIC-II
61 | 2020 | A multistage deep neural network model for blood pressure estimation using photoplethysmogram signals | Jamal Esmaelpoor | Computers in Biology and Medicine (IF: 7.7, Citation: 79) | PPG | estimates the SBP and DBP | CRNN(CNN-LSTM) | SL | according to the BHS standard, it achieved grade A in estimating both systolic and diastolic BPs. The mean and standard deviation of error for systolic and diastolic blood pressure estimations were +1:91 ± 5:55 mmHg and + 0:67 ± 2:84 mmHg, respectively. | 200 subjects using the standards of the British Hypertension Society (BHS) and the Association for the Advancement of Medical Instrumentation (AAMI).
62 | 2021 | A multi-type features fusion neural network for blood pressure prediction based on photoplethysmography | Meng Rong | Biomedical Signal Processing and Control (IF: 5.1, Citation: 35) | PPG | estimates the SBP and DBP | CNN / LSTM | SL | The standard deviation (STD) and mean absolute error (MAE) of the fusion model are 7.25 mmHg and 5.59 mmHg respectively for systolic blood pressure (SBP), 4.48 mmHg and 3.36 mmHg respectively for diastolic blood pressure (DBP). | UCI_BP
63 | 2023 | A Machine Learning Approach to the Non-Invasive Estimation of Continuous Blood Pressure Using Photoplethysmography | Basheq Tarifi | Applied Sciences (Citation: 2) | PPG | the reconstruction of the ABP waveform | Encoder-decoder/FC | SL | predict the systolic blood pressure to 5.26 ± 6.53 mmHg (mean error ± standard deviation), the diastolic blood pressure to 2.96 ± 3.31 mmHg, and the mean arterial pressure to 3.27 ± 3.55 mmHg. | 1669 patients in the MIMIC-III database
64 | 2021 | A Deep Learning Approach to Predict Blood Pressure from PPG Signals | Ali Tazarv | EMBC (Citation: 20) | PPG | estimates the SBP and DBP | CRNN(CNN-LSTM) | SL | Our proposed model on 20 randomly picked subjects from MIMIC-II dataset [5] gives prediction error (M AE±SDAE) of 3.70±3.07 mmHg and 2.02±1.76 mmHg, for SBP and DBP values respectively. Also on UQVSD dataset, prediction errors (M AE ± SDAE) are 3.70±3.07 mmHg and 2.02±1.76 mmHg, for SBP and DBP respectively. | MIMIC-Ⅱ and UQVSD
65 | 2021 | A Continuous Blood Pressure Estimation Method Using Photoplethysmography by GRNN-Based Model | Zheming Li and Wei He | Sensors (IF: 3.9, Citation: 8) | PPG | the reconstruction of the ABP waveform | Encoder-Decoder / GRNN | SL | the mean absolute error is 3.96 ± 5.36 mmHg for SBP and 2.39 ± 3.28 mmHg for DBP, the root mean square error is 5.54 for SBP and 3.45 for DBP | MIMIC II
66 | 2023 | Cardiovascular risk detection using Harris Hawks optimization with ensemble learning model on PPG signals | R. Divya | Signal, Image and Video Processing (IF: 2.3, Citation: 0) | PPG | classify blood pressure | AE/Others | SL | * | PPG-BP dataset
67 | 2018 | Repetitive neural network (RNN) based blood pressure estimation using PPG and ECG signals | Ümit Şentürk | 2018 2Nd international symposium on multidisciplinary studies and … (Citation: 50) | PPG + ECG | estimates the SBP and DBP | Bi-LSTM | features+SL | The results have shown that RMSE (Root Mean Square Error) between the estimated SBP and the measured SBP with RNN model was 3.63 and the RMSE between the estimated DBP and the measured DBP values was 1.48 with RNN model. | MIMIC II
68 | 2018 | Photoplethysmography and Deep Learning: Enhancing Hypertension Risk Stratification | Yongbo Liang | Biosensors (IF: 5.4, Citation: 125) | PPG | three HT classification trials were set: NT vs. PHT, NT vs. HT, and (NT + PHT) vs. HT | CWT + GoogleNet | Transfer learning | The F-scores of these three classification trials were 80.52%, 92.55%, and 82.95%, respectively | (MIMIC) Database
69 | 2018 | Features Extraction for Cuffless Blood Pressure Estimation by Autoencoder from Photoplethysmography | Shota Shimazaki | Citation: 34 | PPG | estimates the SBP | AE | SL | * | *
70 | 2019 | Blood Pressure Assessment with Differential Pulse Transit Time and Deep Learning: A Proof of Concept | Vicent Ribas Ripoll | Kindey Diseases (IF: 3.7, Citation: 23) | PPG + ECG + ART | estimates the SBP and DBP | restricted Boltzmann machine artificial neural networks | SL | * | MIMIC II
71 | 2023 | Predicting patient decompensation from continuous physiologic monitoring in the emergency department | Sameer Sundrani | npj (IF: 15.2, Citation: 0) | PPG + ECG | predict the onset of new vital sign abnormalities (tachycardia, hypotension, hypoxia) in ED patients with normal initial vital signs. | Transformer | SL | * | *
72 | 2020 | CardioNet: Deep Learning Framework for Prediction of CVD Risk Factors | Madhuri Panwar | 2020 IEEE International Symposium on Circuits and Systems (Citation: 9) | PPG | early diagnosis of cardiovascular risk factors or most common diseases (such as diabetes, hypertension, cerebrovascular, cerebra-infraction) | CNN | Transfer learning | The obtained results of an overall accuracy of 97% for diagnosis of CVD risk factors, | PPG-BP database